## Sheet1
Type of Microphone | Gras 1/4" Free Field Microphone
Nominal Sensitivity @250Hz | 10mv/Pa ± 3dB
Frequecy Response @250 Hz | ± 1 dB @100Hz - 5Khz
Upper Limit Dynamic Range | 150 dB re. 20 µPa
Temperature Range | -10°C to 50°C
Output Impedance | <50ohm
Output connector | SMB Coaxial Socket
Cable | SMB to BNC

## Sheet2
Supplier | EMAIL ID's
ALFA Accoustics | alfa@alfaacoustics.com
Welcan Technologies | aroh@welantechnologies.com
Structural Solutuions Private Limited | sanjeev@stsols.com